02529 CONCRETE SIDEWALKS, STRAIGHT CURBS, CURBS, GUTTERS & WHEEL STOPS

***************************************************************************************************************

SPECIFIER: 
CSI MasterFormat 2004 number 32 16 00.

***************************************************************************************************************

- GENERAL

  - SUMMARY

    - Related Sections:

      - 02200 - Earthwork.

      - 02511 - Asphaltic Concrete Pavement.

      - 02545 - Hard Courts/Running Track Construction.

      - 03300 - Cast-In-Place Concrete.

  - REFERENCE STANDARDS

    - Miami-Dade County Public Works Manual (M-DCPW), latest edition.

    - Florida Department of Transportation (FDOT), latest edition, Standard Specifications for Road and Bridge Construction.

      - Delete the basis of payment and other pay measurement requirements from FDOT specifications.

      - Payment for work specified in this section will be included as part of lump sum bid for entire project according to Construction Documents.

  - SUBMITTALS

    - Submit properly identified manufacturer's literature and installation instructions before starting work.

    - Shop Drawings: Submit precast wheel stop shop drawings.

    - Concrete Tests: Submit for review.

  - QUALITY ASSURANCE

    - Perform tests according to the specified standards.

    - Provide reinforcing at extruded curbing.

- PRODUCTS

  - MATERIALS

    - Concrete:

      - Provide concrete for sidewalks, straight curbs, curbs, gutters, and wheel stops as specified in Section 03300.

      - For work on Public Right of Way: Comply with applicable requirements from Miami-Dade County Public Works (M-DCPW) and FDOT Section 520 "Concrete Gutter, Curb Elements, and Traffic Separator".

- EXECUTION

  - INSPECTION

    - Do not proceed with the work of this section until conditions detrimental to the proper and timely completion of the work have been corrected in an acceptable manner.

  - INSTALLATION

    - Concrete Sidewalks: Provide as indicated on drawings and specified in Section 145 of M-DCPW.

    - Straight Curbs: Provide as indicated on drawings and specified in Section 520 of FDOT.

    - Curbs and Gutters: Provide as indicated on drawings and specified in Section 520 of FDOT.

    - Wheel Stops: Approximately 6 inches x 8 inches x 6 feet. long, reinforced precast concrete, anchored with at least two 5/8" round reinforcing bars driven 18 inches into ground as indicated on drawings. Units as made by Denmark Cast Stone Co. or Precast Corp.

  - TESTING

    - Provide tests as specified in Section 03300, M-DCPW and Section 520 of FDOT.

END OF SECTION